## Slide 1: Building Software Systems for Image-Guided Robot-Assisted Interventions with SlicerROS2
04/19/2023

## Slide 2
Overview
Part 1: AI segmentation from tracked ultrasound images
Part 2: Intro to SlicerROS2
Part 3: Image registration and path planning in Slicer

## Slide 3
Part 1: AI segmentation from tracked ultrasound images

## Slide 4: How to capture tracked ultrasound in 3D Slicer
3D Slicer
Make sure your ultrasound and tracker are PLUS compatible by checking here for a list of supported devices: https://plustoolkit.github.io/features
For this demo we used an Aurora tracker and a Clarius US probe
For more information, check out the SlicerIGT tutorials here: https://www.slicerigt.org/wp/user-tutorial/
Tracker
US probe
PLUS server
OpenIGTLinkIF

## Slide 5: AI segmentation in Slicer

## Slide 6: AI tumor segmentation from ultrasound
Load the scene “ISMRWorkshop-tongueSeg.mrb”
Update your slice views (see below):

## Slide 7
Playback the tracked US data and live prediction using the Sequences module
References: https://www.youtube.com/watch?v=WyscpAee3vw – Tamas Ungi
Ultrasound image with UNet prediction overlay
Prediction only
Tracked data (this should be moving when the sequence is playing)

## Slide 8
Ultrasound image with UNet prediction overlay
Prediction only
Tracked data (this should be moving when the sequence is playing)

## Slide 9
Switch to the Volume Reconstruction and select the following:

## Slide 10
Finally, switch to the Volume Rendering module and select the following:

## Slide 11
Make sure the “AISeg-tongue” sequence is playing and you should see something like this:

## Slide 12
Part 2: Intro to SlicerROS2

## Slide 13
Getting started on SlicerROS2
SlicerROS2 has been built in your docker container
The instructions for installing on your own computer, and a lot of the examples we’ll go through today are available here: https://slicer-ros2.readthedocs.io/en/devel/index.html

## Slide 14
How does it work?
3D Slicer is treated like a ROS node
ROS communication mechanisms are packaged as MRML nodes
Node
Node
Node
3D Slicer
vtkMRMLROS2NodeNode
3D Slicer Node
ROS side
3D Slicer side

## Slide 15
SlicerROS2 MRML nodes: Overview

## Slide 16
SlicerROS2 MRML nodes: Subscribers

## Slide 17
Create your own subscriber
SlicerROS2 MRML nodes: Subscribers
Notes: You can add an observer – substring
Time stamp check for lookups in unit tests

## Slide 18
SlicerROS2 MRML nodes: Publishers

## Slide 19
SlicerROS2 MRML nodes: Tf2 Lookup

## Slide 20
SlicerROS2 MRML nodes: Tf2 Broadcaster

## Slide 21
SlicerROS2 MRML nodes: Parameter

## Slide 22
Conversion methods
We use this naming convention for publishers/ subscribers: vtkMRMLROS2PublisherxxxxNode
vtkMRMLROS2SubscriberxxxxNode
Notes: Third column : our naming convention – String we call it in 3D Slicer
Naming convention –vtkMRMLROS2Publsiher + xxxx + Node” (xxxx) in the third column
Remove cartesian impedance gains
We added these…

## Slide 23: How to add your own custom publishers / subscribers:
Select a ROS type and 3D Slicer counterpart (vtk / or native C++ types) and write your conversion function:
Initialize the new macros and register your new MRML node class:
SlicerToROS2 for publishers:
vs ROS2ToSlicer for subscribers

## Slide 24
Example application: Virtual fixture
Initialize MRML objects:
Add observer:

## Slide 25: Visualize the dVRK in 3D Slicer
Launch the virtual PSM
Select “Power on”

## Slide 26: Launch 3D Slicer
Start your robot state publisher:
Launch 3D Slicer from a terminal:

## Slide 27: Visualize the robot
Set up the names correctly:
You should see this in the 3D viewer:
You may need to zoom out to see this! Scroll towards you on your mouse to do so

## Slide 28: Move the robot
Direct control:
Or you can use this script:
Notes: Run the dVRK – test script from read the doc (make the robot move)

## Slide 29
Part 3: Image registration and path planning in Slicer

## Slide 30: Load the CT image of the tongue
Drag and drop the scene called “TongueCT.mrb” into 3D Slicer

## Slide 31: Create a volume rendering
Switch to the Volume Rendering module and enter the following

## Slide 33
The image and the robot are not in the same coordinate system yet

## Slide 34
2. Switch to the Fiducial Registration Wizard module and create:
CT registration points
dVRK registration points
CtTodVRK

## Slide 35
To be added ** recording video tomorrow